## Annex A.1 Technical Bid
|  | ITB reference number: NGA-ITB-019-24 Supply of Non-food items (NFI), Shelter related and WASH water spare parts . . Lot 3 - Supply of tools and spare parts of water facilities | [5 empty] | Annex A.1 Technical Bid
DRC to complete |  |  |  |  | Bidder to complete
# |  | Specification | Unit of measure | Quantity | Item/Milestone offered (name make and model with full specification) | Country of Origin | Quantity offered | Unit of measure
1 | Pipe wrench 36" | 900mm(36”) pipe wrench | piece | 1
2 | Pipe wrench 24" | 600mm(24”) pipe wrench | piece | 1
3 | Pipe wrench 18" | 450mm(18”) pipe wrench | piece | 1
4 | Die set | Die set for hand pump, for 1 threading of PVC/GI pipes with 1", 1.25", 1.5" | piece | 1
5 | Clamp (vice) | Clamp (vice), for Hand pump | piece | 1
6 | Digital Clamp multimeter | Digital Clamp Meter, 30mm Jaw, Measures AC Current to 400A, Measures AC/DC Voltage to 600V, Resistance, Continuity, and | piece | 1
7 | Hacksaw | Hacksaw (12" long with 14-32 teeth/inch) with Extra blades | piece | 1
8 | Round nose Plier | Round Nose Pliers, Wire Jewelry Making Tools Bead Pliers for Wire Wrapping, Jump Rings Making, Jewelry Making | piece | 1
9 | Star Screw driver | Professional Torx Screwdrivers Set T5-T30 Precision Star Screwdriver Bit Sets Magnetic Tips | piece | 1
10 | Club hammer | 2-1/2 Pound Club Hammer with Fiberglass Handle, Non-Slip Rubber Handle, Heavy Duty Construction DIY Hand Tool, | piece | 1
11 | Claw Hammer | Straight Claw Hammer with Magnetic Nail Holder, Rip Claw Hammer with Milled Face & Shock Reduction | piece | 1
12 | Wire Brush | Wire Brush,Heavy Duty Stainless Steel Wire Scratch Brush for Cleaning Rust with 10"Curved Beechwood Handle. | piece | 1
13 | Combination Plier | HAUTMEC 9" Linesman Pliers High Leverage Combination Pliers Multifunctional Heavy Duty Lineman Tools HT0271-PL | piece | 1
14 | Flat nose screw driver | Magnetic Screwdriver Set, 6-Piece Screw Driver Kit with 3 Phillips and 3 Flat, Professional Non-Slip Cushion Grip Nut Driv | piece | 1
15 | Long nose Plier | WORKPRO Premium 8” Needle Nose Pliers, Paper Clamp Precision, Heavy-Duty CRV Steel, Large Soft Grip with Wire Cutter, Long Nose Cutting | piece | 1
16 | Tool box | Tool box with locking arrangement made from 24 G | piece | 1
17 | Grease 450 gram | Grease Multi purpose 450 grams– for greasing chain assembly and bearing | piece | 1
18 | Hexagonal bolt, M12 x 40 mm | Hexagonal bolt for pump head and water tank - M12 x 40 mm for Hand pump | piece | 1
19 | Grease 3kg | Grease Multi purpose 3kg – for greasing chain assembly | piece | 1
20 | Hexagonal bolt M12 x 20 mm | Hexagonal bolt for inspection cover - M12 x 20 mm for handpump | piece | 1
21 | Hexagonal bolt – M10 x 40 mm, | Hexagonal bolt for chain assembly – M10 x 40 mm, handpump | piece | 1
22 | Hexagonal lock nut for chain assembly – M10 | Hexagonal lock nut for chain assembly – M10 (“Nyloc”), handpump | piece | 1
23 | Pump rod vice assembly, | Pump rod vice assembly, handpump | piece | 1
24 | Connecting rod tool | Connecting tool assembly for connecting pipe rods, handpump | piece | 1
25 | Bearing | Bearing mounting assembly for handpump | piece | 1
26 | Axle punch | Axle punch for handpump | piece | 1
27 | Grundfos Submersible pump 5.5HP | Supply of complete set of Grundfos 5.5 HP AC submersible pump with splicing kit | Set | 1
28 | Grundfos Submersible pump 3.0 HP | Supply of complete set of Grundfos 3 HP AC submersible pump with splicing kit | Set | 1
29 | Submersible pump 5.5 HP | Supply of complete set of 5.5 HP AC submersible pump other product with splicing kit. Power: 4.0kw. MaxHead:150m. Max flow:190l/min. 380v/50Hz. | Set | 1
30 | Grundfos SQ Flex 2.5-2 submersible pump | Supply of Grundfos SQ Flex 2.5-2 submersible pump with splicing kit | piece | 1
31 | Flexible cable 4mm | Flexible cable, 4mm insulated flexible cable, pure copper 4 core 100m per roll. | Roll | 1
32 | Flexible cable 2.5mm | Flexible cable, 2.5mm insulated flexible cable, pure copper 4 core 100m per roll. | Roll | 1
33 | Solar panel 100 watts | Solar panel moncrystalline 100 watts with aluminium frame | piece | 1
34 | Solar panel 150 watts | Solar panel monocrystalline 150 watts with aluminium frame | piece | 1
35 | Solar panel 200 watts | Solar panel monocrystalline 200 watts with aluminium frame | piece | 1
36 | Solar panel 250 watts | Solar panel monocrystalline 250 watts with aluminium frame | piece | 1
37 | Solar panel 350 watts | Solar panel monocrystalline 350 watts with aluminium frame | piece | 1
38 | Solar panel 450 watts | Solar panel monocrystalline 450 watts with aluminium frame | piece | 1
39 | Solar panel 100 watts | Solar panel Polycrystalline 100 watts with aluminium frame | piece | 1
40 | Solar panel 150 watts | Solar panel Polycrystalline 150 watts with aluminium frame | piece | 1
41 | Solar panel 200 watts | Solar panel Polycrystalline 200 watts with aluminium frame | piece | 1
42 | Solar panel 250 watts | Solar panel Polycrystalline 250 watts with aluminium frame | piece | 1
43 | Solar panel 350 watts | Solar panel Polycrystalline 350 watts with aluminium frame | piece | 1
44 | Solar panel 450 watts | Solar panel Polycrystalline 450 watts with aluminium frame | piece | 1
45 | Universal inverter 500watts Dc 24v to AC 220V | SUNWHEEL 500 Watt Pure Sine Wave Power Inverter DC 24V to AC 110V 120V Peak Powe | piece | 1
46 | Universal inverter 1000watts Dc 24v to AC 220 V | SUNWHEEL 1000 Watt Pure Sine Wave Power Inverter DC 24V to AC 110V 120V Peak Powe | piece | 1
47 | Hybrid Inverter 4 kw | Hybrid Inverter 4 kw | piece | 1
48 | Hybrid Inverter 5.5kw | Hybrid Inverter 5.5kw | piece | 1
49 | Hybrid Inverter 7.k kva | Hybrid Inverter 7.k kva | piece | 1
50 | Solar battery Charge controller | 12v/24v Solar battery Charge controller, 60A | piece | 1
51 | 12 volt solar Battery dry cell, 120AH | 12 volt solar Battery dry cell, 120AH | piece | 1
52 | Chlorine Granule 75% | Chlorine Granule 75%, 45 kg | Drum | 1
53 | Chlorine dosing pump | APG603 Dosing Pump Max Pressure 10bar | piece | 1
54 | Complete Mark III | Supply set of complete India Mark III handpump inclusive of pedestal, complete head with handle, 2 1/2" PVC drop pipes 30m, India Mark III pump. | Set | 1
55 | Hand pump india mark III head | Hand pump india mark III head | piece | 1
56 | Complete india mark III cylinder | Complete india mark III cylinder | Set | 1
57 | Hand pump Tank for Mark III | Hand pump Tank for Mark III | Set | 1
58 | water seal | Water Seal hand pump (handpump bucket) | piece | 1
59 | GMtools Tap and die set | GMTOOLS 60piece Tap and Die Set, Metric Standard Size M3 to M12, Threading Tool Set. (smaller precisions/connecting rod) | piece | 1
60 | upper valves Brass Mark III | Hand pump Indian mark III upper valve brass | piece | 1
61 | upper valves Brass Mark II | Set Hand pump Indian mark II valve brass | piece | 1
62 | Hand pump Tank for Mark II | Hand pump Tank for Mark II | piece | 1
63 | Spanner combination 17" | Spanner combination 17" | piece | 1
64 | Spanner combination 18" | Spanner combination 18" | piece | 1
65 | Spanner combination 19" | Spanner combination 19" | piece | 1
66 | Engine Oil | Engine oil 4 litres, 20w50_1000 Lubricants products are a range of quality premium mineral motor oils designed to provide a high level of performance. | piece | 1
67 | 1¼'' Nipple PVC | 1 ¼" Inch PVC Nipple Male to Male coupling adaptor of Thread plumbing PIPE connection. | piece | 1
68 | Switch control box | Solar Disconnect Switch 32 Amp DC1200V Isolator Switch with IP66 Waterproof Enclosure for Rooftop Solar Systems, RVs and Boats | piece | 1
69 | Adjutable clip 1'' made of steel | Adjutable clip 1'' made of steel | piece | 1
70 | 1¼'' Socket made of steel | 1¼'' Socket made of steel | piece | 1
71 | 1¼'' Socket made of PVC | 1¼'' Socket made of PVC | piece | 1
72 | Diesel | Automotive Gas oil _Diesel | piece | 1
73 | Empty Drum | Empty drum 200 litres made of PVC, that will be used to supply the Diesel | piece | 1
74 | PVC Tank | 3000 liters PVC Tank | piece | 1
75 | PVC Tank | 4000 liters PVC Tank | piece | 1
76 | PVC Tank | 5000 liters PVC Tank | piece | 1
77 | Chlorine Feeder | Automatic Chlorinator (by swimline economy in-line above ground poolautomatic chlorine feeder) with all accessoroes | Set | 1
78 | Bushing | Bushing 37mm×19mm GI | piece | 1
79 | TEE GI | 37mm×19mm TEE GI | piece | 1
80 | elbow GI | 37mm×19mm elbow GI | piece | 1
81 | elbow GI | 37mm×25mm elbow GI | piece | 1
82 | Stop cork 1" | 25mm stop cork GI | piece | 1
83 | PVC Gum | PVC gum or similar, 250ml | piece | 1
84 | Tap head 1" | 25mm Heavy duty brass tap head-England made or similar | piece | 1
85 | Tap head 3/4" | 19mm Heavy duty brass tap head-England made or similar | piece | 1
86 | Tap head 3/4" PVC | 19mm PVC tap head-England made or similar | piece | 1
87 | Hose Pipe 1" flexible clear PVC | 1" flexible clear hose pipe 100m per roll | piece | 1
88 | Hose Pipe 3/4" lexible clear PVC | 3/4" flexible clear hose pipe 100m per roll | piece | 1
89 | Riser Pipe | Indian Mark III Riser Pipe PVC with stainless steel sockets | piece | 1
90 | Cylinder Indian Mark II | Complete cylinder assembly 2 1/2" for Mark II | piece | 1
91 | syringe | 5ml plastic syringe | piece | 1
92 | GI pipe 1 ¼" | 1 ¼" Galvanised riser pipe, 6m long | piece | 1
93 | GI pipe 1 1/2" | 1 1/2" Galvanised riser pipe, 6m long | piece | 1
94 | BRC wire mesh | Black Hardware Cloth 2 Inch, 19 Gauge PVC Coating Wire Mesh Rolls Vinyl Coated Welded Chicken Wire Fencing | piece | 1
95 | PVC pipe 1 ¼" | PVC pipe 1 ¼" with 6m long for plumbing work. | piece | 1
96 | Connecting rode | connecting rode for handpump indian mark III | piece | 1
97 | Brass Stop cock valve 3" | 3" NPT Horizontal Check Valve, Brass Non Return Swing Check Valve to Prevent Water Backflow, Level One Way Counterflow Valve to | piece | 1
98 | Brass Stop cock valve 2" | 2" NPT Horizontal Check Valve, Brass Non Return Swing Check Valve to Prevent Water Backflow, Level One Way Counterflow Valve to | piece | 1
99 | Brass Stop cock valve 1.5" | 1.5" NPT Horizontal Check Valve, Brass Non Return Swing Check Valve to Prevent Water Backflow, Level One Way Counterflow Valve to | piece | 1
100 | Battery 150AH 12V | Maintenance free solar battery 150 AH 12V | piece | 1
101 | Circuit Breaker 3pole 220V,63amps | 3 Pole DIN Rail Mount Circuit Breaker, 63 Amp 240V AC Miniature Circuit Breaker, Thermal Magnetic Trip | piece | 1
102 | Circuit Breaker 2pole 220v,63amps | AC Miniature Circuit Breaker, 63 Amp 120V/240V 2 Pole DIN Rail Mount Circuit Breaker, Thermal Magnetic Trip, Solar | piece | 1
103 | Circuit breaker 1pole 220v,63amps | AC Miniature Circuit Breaker, 63 Amp 120V/240V 1 Pole DIN Rail Mount Circuit Breaker, Thermal Magnetic Trip, Sola | piece | 1
104 | PVC tape | Industrial Grade Clear Packing Tape 6 Rolls - 110 Yards per Roll - 3" Wide x 2.0 mil Thick, Acrylic Adhesive Heavy Duty Tape | piece | 1
105 | Chain link (fencing) | Chain link (fencing) | piece | 1
106 | Schotchcast (Splicing kit) | Schotchcast (Splicing kit) | piece | 1
107 | PVC union | 1 1/4" PVC union | piece | 1
108 | PVC reducer | PVC Pipe Fitting - Reducing Coupling - Schedule 40 (White) - 2-1.5" (SOC x SOC) | piece | 1
109 | PVC reducer | PVC Pipe Fitting - Reducing Coupling - Schedule 40 (White) - 1.5-1/25×1" (SOC x SOC) | piece | 1
110 | PVC reducer | PVC Pipe Fitting - Reducing Coupling - Schedule 40 (White) - 1-1/2×1" (SOC x SOC) | piece | 1
111 | TEE PVC | 1'' Tee PVC | piece | 1
112 | Elbow PVC | 1'' Elbow PVC | piece | 1
113 | Elbow PVC 1 ¼" | 1 ¼" Elbow PVC | piece | 1
114 | Pinches | Pinches for cutting of metals, bending wire etc. | piece | 1
115 | Ratchet-type Tube | Ratchet-type Tube and Pipe Cutter for Cutting O.D. PEX, PVC, and PPR Plastic Hoses and Plumbing Pipes up to 1-5/8" | piece | 1
116 | Gearwrench | GEARWRENCH 20 Piece Ratcheting Combination Wrench |  | 1
117 | Silicone Tape Black 1" | XFasten Self Fusing Silicone Tape for Plumbing Black 1" X 36-Foot Non-Adhesive Leak Seal Tape Waterproof, Silicone Grip Tape, Rubber Tape Thick for Pipe, Hose Repair Tape | piece | 1
DRC to complete |  |  |  |  | Bidder to complete
Delivery time required (days after PO signature): |  | 18 Calender Days |  |  | Delivery time offered (days after PO signature):
Delivery Terms required (Add Incoterm if necessary): |  | DDP Incoterms 2020 |  |  | Delivery Terms offered (must include incoterm):
Delivery Destination required: |  | DRC Maiduguri warehouse and different LGA in Borno State. |  |  | Delivery Destination offered:
Minimum bid validity period required: |  | 90 Days |  |  | Bid validity period offfered:
Additional comments to bidders: 1. Items will be ordered separately to form customized kits. 2. The delivery time of the supply shall be within 18 calendar days of placing the order. 3. The offered specification must match our requested. 4. Samples submitted within the bid. 5. Awarded supplier must be able to deliver to DRC Maiduguri warehouse and different LGA in Borno with the same price if needed, prices for all items will be fixed through the duration of the Purchase Agreement 6. DRC May split the award between different suppliers. |  |  |  |  | Company Name:
Contact Person:
[5 empty] | Address: | Phone number:
[5 empty] | Email Address: | Date:
Signed by a duly authorized company representative:
Title:
Print Name:
Stamp of company